## Network Device
Rich Products Corporation - HQ @ Buffalo, NY
Make | Model | Serial Number | Type | Site Address | Hostname | IP Address | Operating System | Current Software | Carousel Recommended Software | Manufacture Recommended Latest Version | End of Life of End of Support | Notes
Network Device(68)
Firewall(10)
Cisco Systems | FPR-2110 |  | Firewall | USDC2 (Los Angeles California) | USDC2A1R02FLW02 | 172.16.200.211 | FSOX | - | - | - | - | -
Cisco Systems | FPR-2110 |  | Firewall | USDC1 (Newark, NJ) | DC1-A2R10-FWL02 | 172.16.10.211 | FXOS | - | - | - | - | -
Cisco Systems | FPR-2110 |  | Firewall | USDC1 (Newark, NJ) | DC1-A2R11-FWL01 | 172.16.10.210 | FXOS | - | - | - | - | -
Cisco Systems | - | - | Firewall | USDC1 (Newark, NJ) | DC1-A2R11-FWL03.na.rpchome.com | 172.16.10.214 | FXOS | - | - | - | - | -
Cisco Systems | - | - | Firewall | USDC1 (Newark, NJ) | DC1-A2R11-FWL03.na.rpchome.com | 172.16.10.215 | FXOS | - | - | - | - | -
Cisco Systems | FPR-2110 |  | Firewall | USDC2 (Los Angeles California) | DMZ 2120 Primary FTD | 172.16.200.210 | FXOS | - | - | - | - | -
Cisco | ASA 5516 | JMX2239G11E | Firewall | GBAND (Andover, UK) | GBANDM01FWL03.na.rpchome.com | 10.216.40.7 | ASA | 9.8(4)35 | - | - | - | -
Cisco | ASAv | 9AGD45E37KA | Firewall | Mumbai | inzcifwl03.na.rpchome.com | 10.81.0.200 | ASA | 9.12(3)12 | - | - | - | -
Cisco Systems | - | - | Firewall | USDC2 (Los Angeles California) | USDC2A1R02FWL04.na.rpchome.com | 172.16.200.215 | FXOS | - | - | - | - | -
Cisco Systems | - | - | Firewall | USDC2 (Los Angeles California) | USDC2A1R02FWL04.na.rpchome.com | 172.16.200.214 | FXOS | - | - | - | - | -
Router(37)
Cisco Systems | ISR4331-3x1GE | FLM244110FJ | Router | CAFTE (Ft. Erie, ON) | CAFTEM01VGW01.na.rpchome.com | 10.166.16.10 | IOS | 16.09.03 | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109G | Router | CAWBR(Woodbridge, ON) | CAWBRM01VGW01.na.rpchome.com | 10.183.16.10 | IOS | - | - | - | - | -
Cisco Systems | Cisco ISR4431 | FJC2237A03U | Router | GBAND (Andover, UK) | GBANDM01VGW01.rich.com | 10.216.40.10 | IOS | 16.09.08 | - | - | - | -
Cisco Systems | ISR4321 | FLM2250V0C1 | Router | USARL (Arlington, TN) | USARLM01VGW01.na.rpchome.com | 10.161.40.40 | IOS | V05 | - | - | - | -
Cisco Systems | ISR4321 | FLM2250V0C0 | Router | USBVL (Brownsville, TX) | USBVLM01VGW01.na.rpchome.com | 10.162.40.40 | IOS | V05 | - | - | - | -
Cisco Systems | ISR4321 | FLM2250V0C9 | Router | USBWK (Brunswick, GA) | USBWKM01VGW01.na.rpchome.com | 10.163.40.40 | IOS | V05 | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109U | Router | USCHK (Cheektowaga, NY) | USCHKM01VGW01.na.rpchome.com | 10.191.136.132 | IOS | 15.1(1)T3, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | C880VOICE-UNIVERSALK9-M | FJC2036L2G0 | Router | USCRH (Crest Hill, IL) | USCRHI05VGW01.na.rpchome.com | 10.164.16.11 | IOS | 15.4(3)M3, RELEASE SOFTWARE (fc2) | - | - | - | -
Cisco | CISCO2911/K9 | FTX1735A1H8 | Router | USCRH (Crest Hill, IL) | USCRHM01VGW01.na.rpchome.com | 10.164.16.10 | IOS | 15.2(1)T4, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4331-3x1GE | FLM2243W1FL | Router | USDC1 (Newark, NJ) | USDC1A2R10VGW02.na.rpchome.com | 172.16.10.41 | IOS | 03.16.04b.S.155-3.S4b-ext | - | - | - | -
Cisco Systems | ISR4331-3x1GE | FLM2243W1FN | Router | USDC1 (Newark, NJ) | USDC1A2R11VGW01.na.rpchome.com | 172.16.10.40 | IOS | 03.16.04b.S.155-3.S4b-ext | - | - | - | -
Cisco Systems | ISR4331-3x1GE | FLM1946W0P2 | Router | USDC2 (Los Angeles California) | USDC2A1R02VGW01.na.rpchome.com | 172.16.200.40 | IOS | 03.16.04b.S.155-3.S4b-ext | - | - | - | -
Cisco Systems | ISR4321 | FLM2250V0BZ | Router | USEAG (Eagan, MN) | USEAGM01VGW01.na.rpchome.com | 10.165.40.40 | IOS | V05 | - | - | - | -
Cisco Systems | ISR4321 | FLM243110DT | Router | USFRI (Fridley, MN) | USFRIM01VGW01.na.rpchome.com | 10.186.16.10 | IOS | V06 | - | - | - | -
Cisco Systems | VG3X0-UNIVERSALK9-M | FGL2431LFJJ | Router | USFRI (Fridley, MN) | USFRIM01VGW02.na.rpchome.com | 10.186.16.11 | IOS | 15.7(3)M6, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM252311V3 | Router | USFTN (Fountain Inn, SC) | USFTNM01VGW01.na.rpchome.com | 10.167.16.10 | IOS | 15.2(1)T4, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM253010A4 | Router | USGAL (Gallatin, TN) | USGALM01VGW01.na.rpchome.com | 10.169.16.10 | IOS | - | - | - | - | -
Cisco Systems | ISR4331-3x1GE | FLM251711DU | Router | USHIL (Hilliard, OH) | USHILM01VGW01.na.rpchome.com | 10.170.16.10 | IOS | 16.09.07 | - | - | - | -
Cisco Systems | ISR4321 | FLM243110DU | Router | USLOD (Lodi, CA) | USLODI06VGW01.na.rpchome.com | 10.185.16.10 | IOS | V06 | - | - | - | -
Cisco Systems | ISR4321 | FLM253010A5 | Router | USMC1 (Missouri City, TN) | USMC1M01VGW01.na.rpchome.com | 10.171.16.10 | IOS | 15.1(2)T5, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109V | Router | USMC2 (Missouri City, TX) | USMC2M01VGW01.na.rpchome.com | 10.180.16.10 | IOS | 15.7(3)M3, RELEASE SOFTWARE (fc2) | - | - | - | -
Cisco Systems | ISR4331-3x1GE | FLM251711DY | Router | USMT1 (Morristown, TN) | USMT1M01VGW01.na.rpchome.com | 10.172.16.10 | IOS | 16.09.07 | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109J | Router | USMT2 (Morristown, TN) | USMT2M01VGW01.na.rpchome.com | 10.173.16.10 | IOS | 15.2(4)M3, RELEASE SOFTWARE (fc2) | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109Q | Router | Lakeway Freezer | USMT3M01VGW01.na.rpchome.com | 10.160.16.132 | IOS | 15.0(1)M6, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4331-3x1GE | FLM251711E3 | Router | USMUR (Murfreesboro, TN) | USMURM01VGW01.na.rpchome.com | 10.174.16.10 | IOS | 16.09.07 | - | - | - | -
Cisco | VG310 | FJC25051854 | Router | USMUR (Murfreesboro, TN) | USMURM01VGW02.na.rpchome.com | 10.174.16.11 | IOS | 15.7(3)M8, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco | VG202XM | FCH2030T0LW | Router | USNBR (New Britain, CT) | USNBRI01VGW01.na.rpchome.com | 10.175.16.11 | IOS | 15.3(3)M7, RELEASE SOFTWARE (fc2) | - | - | - | -
Cisco Systems | C2951-UNIVERSALK9-M | FTX1532AL3T | Router | USNBR (New Britain, CT) | USNBRM01VGW01.na.rpchome.com | 10.175.16.10 | IOS | 15.1(4)M1, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM253010A3 | Router | USNIL (Niles, IL) | USNILM01VGW01.na.rpchome.com | 10.176.16.10 | IOS | 15.0(1)M3, RELEASE SOFTWARE (fc2) | - | - | - | -
Cisco Systems | ISR4321 | FLM253010A2 | Router | USQUE (Queens, NY) | USQUEM01VGW01.na.rpchome.com | 10.160.32.132 | IOS | 15.1(4)M4, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109X | Router | USSAA (Santa Ana, CA) | USSAAM01VGW01.na.rpchome.com | 10.177.16.10 | IOS | 15.2(1)T4, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM2250V0BX | Router | USSFS (Santa Fe Springs, CA) | USSFSM01VGW01.na.rpchome.com | 10.178.40.40 | IOS | V05 | - | - | - | -
Cisco Systems | ISR4321 | FLM243510DY | Router | USSPK (Spokane, WA) | USSPKM01VGW01.na.rpchome.com | 10.161.144.10 | IOS | V06 | - | - | - | -
Cisco Systems | ISR4321 | FLM2250V0C7 | Router | USSSI (St. Simons, GA) | USSSIM01VGW01.na.rpchome.com | 10.179.40.40 | IOS | V05 | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109N | Router | USUNC (Union City, CA) | USUNCM01VGW01.na.rpchome.com | 10.181.16.10 | IOS | 15.1(4)M4, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM2530109L | Router | USVNL (Vineland, NJ) | USVNLM01VGW01.na.rpchome.com | 10.182.16.10 | IOS | 15.0(1)M6, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco Systems | ISR4321 | FLM252210LG | Router | USWHL (Wheeling, IL) | USWHLM01VGW01.na.rpchome.com | 10.160.40.132 | IOS | 15.6(2)T1, RELEASE SOFTWARE (fc1) | - | - | - | -
Cisco UCM(5)
|  |  | Cisco UCM | USDC1 (Newark, NJ) | CCM01 | 10.14.1.30 | other | - | - | - | - | -
|  | - | Cisco UCM | USDC1 (Newark, NJ) | ccm02 | 10.14.1.31 | other | - | - | - | - | -
|  | - | Cisco UCM | USDC2 (Los Angeles California) | ccm03 | 10.75.6.100 | other | - | - | - | - | -
|  |  | Cisco UCM | GBAND (Andover, UK) | RPIGBCUCM01 | 10.216.42.50 | other | - | - | - | - | -
|  |  | Cisco UCM | GBAND (Andover, UK) | RPIGBCUCM02 | 10.216.42.51 | other | - | - | - | - | -
Cisco Unity(2)
|  | - | Cisco Unity | USDC1 (Newark, NJ) | cuc01 | 10.14.1.55 | other | - | - | - | - | -
|  | - | Cisco Unity | USDC2 (Los Angeles California) | cuc02 | 10.75.6.101 | other | - | - | - | - | -
|  |  | Network Device | USDC1 (Newark, NJ) | DC1 – FMC | 10.70.6.15 | Other | - | - | - | - | -
Switch(9)
Cisco | Catalyst 3650-48PS | FDO2036E0WG | Switch | USDC1 (Newark, NJ) | DC1-A2R10-ASW04.rich.com | 172.16.10.29 | XE-IOS | Fuji 16.09.06 | - | - | - | -
Cisco | WS-C3850-24U-E | FOC2116U1CL | Switch | USDC1 (Newark, NJ) | DC1-A2R11-ASW01.na.rpchome.com | 172.16.10.22 | XE-IOS | Fuji 16.09.06 | - | - | - | -
Cisco | Catalyst 3650-48PS | FDO2119Q1N3 | Switch | USDC1 (Newark, NJ) | DC1-A2R11-PSW.rich.com | 172.16.10.26 | XE-IOS | 03.06.07b.E | - | - | - | -
Cisco | Nexus 93240YC-FX2 | FDO250319M2 | Switch | USDC1 (Newark, NJ) | USDC1A2R10CSW02.na.rpchome.com | 172.16.10.7 | NXOS | 9.3(10) | - | - | - | -
Cisco | Nexus 93240YC-FX2 | FDO250319JV | Switch | USDC1 (Newark, NJ) | USDC1A2R11CSW01.na.rpchome.com | 172.16.10.6 | NXOS | 9.3(10) | - | - | - | -
Cisco | WS-C3850-24U-E | FOC2107X1DK | Switch | USDC2 (Los Angeles California) | USDC2A1R01ASW01.rich.com | 172.16.200.22 | XE-IOS | Fuji 16.09.06 | - | - | - | -
Cisco | Nexus 93180YC-EX | FDO2035118W | Switch | USDC2 (Los Angeles California) | USDC2A1R01CSW01 | 172.16.200.7 | NXOS | 9.3(10) | - | - | - | -
Cisco | Catalyst 3650-48PS | FDO2119Q1PE | Switch | USDC2 (Los Angeles California) | USDC2A1R01PSW01.rich.com | 172.16.200.26 | XE-IOS | Fuji 16.09.06 | - | - | - | -
Cisco | Nexus 93180YC-EX | FDO20352BDD | Switch | USDC2 (Los Angeles California) | USDC2A1R02CSW02 | 172.16.200.8 | NXOS | 9.3(10) | - | - | - | -
Cisco Contact Center Express(3)
|  | - | Cisco Contact Center Express | USDC2 (Los Angeles California) | rpdc2uccx02 | 10.75.6.102 | other | - | - | - | - | -
|  |  | Cisco Contact Center Express | GBAND (Andover, UK) | rpigbcuc01 | 10.216.42.52 | other | - | - | - | - | -
|  | - | Cisco Contact Center Express | USDC1 (Newark, NJ) | rpwhquccc01 | 10.14.1.50 | other | - | - | - | - | -
Cisco | Cisco VG450 | FLM2611107F | Network Device | USDC1 (Newark, NJ) | USHQ1M01VGW01.na.rpchome.com | 10.3.16.11 | XE-IOS | - | - | - | - | -